# MRI Analysis Project: Accelerated MRI Reconstruction & Analysis

## Project Overview

This project aims to reduce MRI scan times by collecting less raw data and using machine learning to reconstruct high-quality medical images. The aim is to build an end-to-end pipeline that transforms undersampled MRI data into clinically useful images and automated pathology detection. Brain is the target body organ.

## Project Goals

Create a production-ready system consisting of two containerized services that:

- Reconstruct high-quality MRI images from undersampled data

- Automatically detect and explain pathologies in the reconstructed images

## System Architecture

### Container 1: MRI Reconstruction

- Purpose: Convert raw undersampled MRI data into reconstructed DICOM images

- Input: File path to raw data (.dicom or .h5 format)

- Output: File path to reconstructed image (.dicom format)

- Scope: Inference only (pre-trained model). Use already pretrained brain model which can be download from Link  and Link

- Example Data sample

### Container 2: Pathology Detection

- Purpose: Analyze reconstructed images and identify pathologies with explanations

- Input: File path to (reconstructed) DICOM file

- Output:

  - Annotated DICOM file with visualized findings

  - JSON file containing detected pathologies and clinical explanations

- Dataset for training and evaluation will be provided by Genotek

- Data annotation

## Expected Outcomes

### End-to-End Pipeline

A complete workflow that processes raw undersampled data through both containers to produce:

- Reconstructed medical images

- Automated lesion detection

- Tissue segmentation

- Clinical explanations for findings

### Industrial Integration

Production-ready solution tailored for real-world clinical diagnostic processes, with:

- Containerized deployment

- Clear input/output specifications

- Compatibility with existing medical infrastructure

## Definition of Done (DoD)

The project is complete when:

Reconstruction Container

- Accepts .dicom or .h5 file path as input

- Successfully reconstructs images using pre-trained model

- Outputs reconstructed image as .dicom file

- Runs as standalone Docker container

- Includes error handling for invalid inputs

Detection Container

- Accepts .dicom file path as input

- Successfully detects and segments pathologies

- Outputs annotated .dicom file with visual markers

- Outputs JSON file containing:

  - Detected pathology types

  - Confidence scores

  - Location information

  - Clinical explanations

- Runs as standalone Docker container

- Includes error handling for invalid inputs

Integration

- Both containers can be chained together in a pipeline

- Documentation covers:

  - Setup and installation

  - API specifications

  - Example usage

  - Expected input/output formats

## Technical Requirements

- Use Docker for containerization

- Clear separation of concerns between containers

- Input validation and error handling

- Comprehensive README with usage examples

- Code documentation

## Useful Resources

- Medical Open Network for Artificial Intelligence

- fastMRI

- FastMRI+